## Slide 1: KneeTest.m
Used with KneeTorqueTest.ino and SLoadCell_ZeroFactorSketch.ino
With KneeTorqueTest, Run command like this:
Opens valve and reads pressure and force data
Protocol id (1 for zeroing the load cell, 2 for knee torque test)
Port that the arduino is connected to (the number after the COM as seen in the example)
The number of data points to collect

## Slide 2: KneeTorqueTest.ino
Used with KneeTest.m
To use without KneeTest.m:
  Open serial monitor inside arduino
  Send “2” until “running” is received
  Send number for how many data points to collect
  The arduino will start sending the data and open the valve
A
B
C
D

## Slide 3: ValvePWM.m
Used with ValvePWM.ino
Split into two phases: inflating and deflating
Run command like this:
Protocol id (2 for pwm test)
Port of arduino board (COM4 in this example)
Pulse width while inflating
Amount of data points to be inflating
Amount of data points to be deflating
Period while inflating
Period while deflating
Pulse width while deflating

## Slide 4: ValvePWM.ino
Used with ValvePWM.m
To use without ValvePWM.m
  Open Serial Monitor
  Send “2” until “running” is received
  Send values for data_in, data_out, pw_in, period_in, pw_out, and period_out in that order, separated by commas

## Slide 5: PressureTest.m
Used for leak/fill test with PressureTest.ino
Operated in the same way as KneeTest.m
Only reports pressure

## Slide 6: PressureTest.ino
Used for leak/fill test with PressureTest.m
Operated in the same way as KneeTorqueTest.ino
Only reports pressure

## Slide 7
Pressurized Air
Valves
BPA
Power Supply
Pressure Sensor
Microcontroller
Transistors
Knee Joint
Load Cell
Amp
Physical Connection
Air
Air
Air
Physical Connection
24V
On/Off
Negative
Data
Data
Data
Ground
Knee Test

## Slide 8
Pressurized Air
Valves
BPA
Power Supply
Pressure Sensor
Microcontroller
Transistors
Load Cell
Amp
Air
Air
Air
24V
On/Off
Negative
Data
Data
Data
Physical Connection
Ground
BPA characterization

## Slide 9
Pressurized Air
Valves
BPA
Power Supply
Pressure Sensor
Microcontroller
Transistors
Air
Air
Air
24V
On/Off
Negative
Data
Ground
Leak/fill test

## Slide 10
24v
24v
GND